
 [image: image1.emf]

                                                                Meter Policy 
    




    (Revised 2/10/2026)
1. Availability

Water Meters shall be available to property owner shareholders on a per parcel basis.  The By-Laws prohibit the installation of more than one meter per parcel.  The shareholder shall provide the company with proof of ownership for a parcel when requesting a new service installation.  No meter will be installed until proof of ownership is presented to the company in the form of a Grant Deed or Escrow Papers and proof of identity with a picture ID of the legal owner. The property owner must submit a copy of building plans, approved by San Bernardino County, before starting the new water installation project. Jubilee Water Company will serve and supply water for domestic water use only. The company’s By-Laws prohibit the use of water for any commercial use or any commercial farming.

2. Water Meters
The company uses a one-inch diameter ultrasonic smart meter that registers in U.S. Gallons for all service connections. No other type or size meter shall be installed without the authorization of the Board of Directors. An inline one-inch spring-loaded check valve shall be installed after the meter to prevent backflow. All connections to the Jubilee water system must be approved by the JMWC System Operator.
3. Cost

Water meter installations will be installed to verified shareholder properties at a cost as per the company’s current Fee Schedule, which may be changed from time to time by the Board of Directors.

4. Previous Connections

Previous water service connections may not guarantee a new meter installation without paying the current installation fee unless proof can be shown that a water meter had previously been installed.  If a meter had been previously installed, the shareholder will have to pay just the Reinstall Meter Fee.  If proof of a previous meter installation cannot be found in the company’s records, then the shareholder may petition the Board of Directors if they can provide an affidavit or other documents to prove that a meter had been previously installed.

5. New Parcels

If a shareholder has acquired a newly created parcel or had new parcels created by the legal parcel mapping or subdivision mapping process, it will be their responsibility to provide the company with a copy of the referenced map of final approval by the County of San Bernardino.  Shareholders in the process of subdividing parcels shall notify the company that they are doing so.  The company may issue a “will serve” letter to the shareholder who is subdividing property as long as satisfactory proof is given to the company regarding ownership.

6. Installation 
Water meters shall be installed only on the following roads and easements:

· Chickasaw Trail

· Blackhawk Trail

· Palomar Trail

· Anza Trail

· North and South Easements

            Parcels on Visalia Avenue, Santa Fe Trail, Fairlane Road, Cherokee Trail and Joshua

            Avenue shall have their meters installed on the above listed roads and easements.

            The shareholder/property owner will have to make arrangements with the adjacent 

            property owner on the streets with a water main to trench and install a waterline from

            the meter to the property. Water meters will be installed at the original land grant right-

            of-ways as shown on the company’s water system plan. No shareholder shall develop a 
            drive access or driveway over a meter installation. If a shareholder violates this provision, 

            they will be responsible for all costs incurred to move the meter.

       7.  Maintenance
Shareholders shall be responsible for keeping the meter boxes clear of debris, earth, plantings, vehicles and other objects that would otherwise block free access to the 
water meter. Within the meter boxes are valves, the water meter, a backflow prevention device and various pipes and fittings owned and maintained by the water company. No other connections will be allowed within the meter boxes without authorization of the JMWC System Operator. In the case of damage to a meter box by a shareholder, the shareholder may be responsible for replacement costs. 

       8.  Safe and Legal Access
            The company requires safe and legal access to all appurtenances of the water distribution

            system within all rights-of-way and easements within the company’s boundaries. This is
            to ensure that company employees can read water meters and perform any maintenance 

            needed, whether within the rights-of-way and/or easements and on private property as

            well. The pathway to the company’s appurtenances, meters and pipelines shall be free of 
            unsafe and/or illegal obstacles, unfriendly pets, fences, locked gates and vehicles. Failure 

            to be able to read the water meter will result in an estimation of water usage and a 

            warning. A second occurrence will result in the discontinuation of water service until
            safe and legal access is provided. Shareholders, at their expense, may be required to have 

            the company relocate a water meter that is deemed inaccessible.
Jubilee Mutual Water Company, Inc.


P.O. Box 1016       8828 Joshua Ave.


Lucerne Valley, CA 92356


Office: 760-248-7883 Cell: 760-885-8587    


Monday thru Friday 9:00 am – 1:00 pm


Email: � HYPERLINK "mailto:jubileewaterco@gmail.com" �jubileewaterco@gmail.com�


Website: jubileewatercompany.com











2

